- DATASHEET

ALUSPACE HINGED

- DATASHEET

WRITE NAME OF PRODUCT HERE

ANY QUESTIONS? GET IN TOUCH AT INFO@DIRECTTRADE.CO.UK OR CALL 01923 777722

FEATURES

  - Slimline Design

    - Steel-look aluminium profiles with slim 35 mm sections, ideal for stylish internal partitions

  - Flexible Configurations

    - Single or double hinged doors with a wide choice of glazing and furniture options.

  - Acoustic Performance

    - Available with noise reduction laminates (Rw up to 37 dB).

  - Low Maintenance

    - Durable powder-coated aluminium ensures longevity with minimal upkeep.

- Internal partitions – not subject to Part L (thermal)

- Safety glazing in accordance with BS 6262 & Document K

BUILDING REGULATIONS

- Acoustic reduction: up to Rw 37 dB

- Internal use only

- Full RAL colour range

- Dual colour option

- Textured finishes

- 25-year powder coating guarantee

- Polyamide thermal break not applicable (internal system)

- Hinges: visible or concealed options

- Aluminium alloy EN AW-6063 T6

DETAILS

- Width: 400 – 900 mm

- Height: up to 2200 mm

- Max Weight: 60 kg per sash

- Glazing: 6 mm, 8 mm, 18 mm

- Slim 35 mm aluminium profiles for steel-look design

PERFORMANCE

SIZE AND WEIGHT LIMITS

SIGHTLINES

FINISHES

ANY QUESTIONS? GET IN TOUCH AT INFO@DIRECTTRADE.CO.UK OR CALL 01923 777722

INSERT PICTURES OF TECHNICAL DRAWINGS AND CROSSECTIONS HERE

TECHNICAL DRAWINGS